## Slide 1: WPX
GV 58-36 Pad
Loc. Id # 334597

## Slide 2: Standing water at wells

## Slide 3: Containment filling from sprinklers

## Slide 4: Containment filling from sprinklers

## Slide 5: Containment filling from sprinklers

## Slide 6: Farm equipment stored on location

## Slide 7: Labels need replaced

## Slide 8: Labels need replaced