API # 123-08916, Bradenhead is not plumed to surface for pressure monitoring, unused electrical equipment (in background)