| COGCC Facility ID: | 755924 | Operator: | TEP Rocky Mountain LLC |
| --- | --- | --- | --- |
| Station Name: | Naugle 67992-F | Drill Pad: | PA 34-24 |
| Sample Date: | 8/25/2020 | Purpose: | Rule 609 1-Year Subsequent |
| Field Sample ID: | Naugle 67992-F | Lab Sample ID: | 2008585-2 |

| Field Sampling Data Review | Yes | No | N/A |
| --- | --- | --- | --- |
| - Well properly purged? | ☒ | ☐ | ☐ |
| - Flow rate reduced prior to sampling? | ☒ | ☐ | ☐ |
| - Water quality parameters stable prior to sampling? | ☐ | ☒ | ☐ |
| - Field instruments calibrated properly? | ☒ | ☐ | ☐ |
| - Sampling methods performed according to SAP procedures? | ☒ | ☐ | ☐ |
| - Procedures consistent with obtaining a representative sample? | ☒ | ☐ | ☐ |
| Lab Data Report Review |  |  |  |
| - Proper sample custody maintained until laboratory receipt? | ☒ | ☐ | ☐ |
| - Receipt form is without discrepancies? If no, list in comments. | ☐ | ☒ | ☐ |
| - Samples received at the recommended water temperature of ≤ 6˚C? | ☒ | ☐ | ☐ |
| - All samples analyzed for the requested analyses? | ☒ | ☐ | ☐ |
| - Proper laboratory methods used? | ☒ | ☐ | ☐ |
| - All sample holding times met (other than lab pH)? | ☐ | ☒ | ☐ |
| - Lab QA samples (e.g., matrix spikes and matrix spike duplicates) collected and analyzed according to lab method and results within method acceptance limits? | ☒ | ☐ | ☐ |
| - Was the field investigation sample matrix used by the lab for matrix QC for all analyses? | ☐ | ☒ | ☐ |
| - Laboratory qualifiers for data (other than non-detect)? List in comments. | ☒ | ☐ | ☐ |
| - Additional qualifiers assigned by WWL (other than pH)? | ☒ | ☐ | ☐ |
| - Were submitted trip blanks acceptable? | ☐ | ☐ | ☒ |
| - Are corrective actions required? If yes, list actions and dates to be completed by: | ☐ | ☒ | ☐ |
| Corrective Action | Date to be completed |  |  |
| None |  |  |  |

| Calculated Parameters | Calculated Value | Measured Lab Value | Ratio/Percent Difference | Acceptable Limit | Meets QC Criteria? |
| --- | --- | --- | --- | --- | --- |
| Cation/Anion Balance, % (CAB) | 0.470 | N/A | N/A | ±5% | ☒ |
| Total Dissolved Solids, mg/L (TDS) | 4890 | 4000 | 0.82 | 1.0 – 1.2 | ☐ |
| Specific Conductance, µS/cm (SpC) | 5970 | 6460 | 0.92 | 0.9 – 1.1 | ☒ |
| TDS/SpC, calculated | N/A | N/A | 0.82 | 0.55-0.7 | ☐ |
| TDS/SpC, lab measured | N/A | N/A | 0.62 | 0.55-0.7 | ☒ |
| Comments: Three casing volumes were purged prior to sample collection; parameters were stabilized according to TEP SAP stabilization criteria with the exception of dissolved oxygen. The ALS service center did not use custody seals on the shipping container. Headspace was present in one of the sample VOAs. Additional sulfuric acid was added to the total phosphorus analysis to achieve the correct preservation. Laboratory pH, TDS, nitrate, and nitrite were analyzed out of analysis holding time, WWL qualified with “H”; result considered estimated. "J" qualifier assigned to iron and total phosphorus sample results and to strontium and total phosphorus method blank results to indicate a result greater than the method detection limit but less than the reporting limit. TDS ratio and TDS/SpC calculated ratio were slightly outside of QC criteria, but data not qualified. |  |  |  |  |  |

| Data Suitability Statement |  |  |  |  |
| --- | --- | --- | --- | --- |
| Based upon this data quality review and your professional judgement, have the data been collected and analyzed in general accordance with the COGCC Model Sampling and Analysis Plan? |  |  |  | ☒ |
| Are the data suitable for release for incorporation into the COGCC Environmental Database? |  |  |  | ☒ |
| Data Review’s Name: | Shelby Goodwin | Company: | Western Water & Land, Inc. |  |
| Reviewer’s Signature: |  | Date: | 10/9/2020 |  |