## Slide 1: Inspection Photos 081-07156 Inspection Date: 5/5/2022 All Photos taken by Kris Neidel
Photo #1 sign at location.

## Slide 2: Inspection Photos 081-07156 Inspection Date: 5/5/2022 All Photos taken by Kris Neidel
Photo #2 valve box off location in obvious flowline right of way.

## Slide 3: Inspection Photos 081-07156 Inspection Date: 5/5/2022 All Photos taken by Kris Neidel
Photo #3 wellhead and buried flowlines.

## Slide 4: Inspection Photos 081-07156 Inspection Date: 5/5/2022 All Photos taken by Kris Neidel
Photo #4 flowline risers from removed equipment. The Form 27 should include an investigation in this area.

## Slide 5: Inspection Photos 081-07156 Inspection Date: 5/5/2022 All Photos taken by Kris Neidel
Photo #5 this appears to be a surface water diversion off the side of the location to adjacent grazing land.

## Slide 6: Inspection Photos 081-07156 Inspection Date: 5/5/2022 All Photos taken by Kris Neidel
Photo #6 another view of Photo #5

## Slide 7: Inspection Photos 081-07156 Inspection Date: 5/5/2022 All Photos taken by Kris Neidel
Photo #7 appears to be a second surface water discharge from location to adjacent land.