Site: GRANT TANK BATTERY

06/08/2022

Site Inspection Report

# Site Inspection Report

# Inspection Details

## Site/Location; ## Date; ## Time; ## Inspector. GRANT TANK BATTERY; 06/08/2022; 03:25 PM; COGCC Contractor. Comments. Work Activity Notes. Changes since previous inspection?; No; Drive by inspection; No. Actively being worked?; No. Fieldwork Oversite Performed?; No; Oversite Type; N/A. Were Oversite Samples Collected?; No; Sample Details; N/A.

Checklists

| Remediation Activity Checklist |  |
| --- | --- |
|  | Photo |
| Question: Open excavation? Approximate size (Length x Width x Depth, ft) Response: Yes Notes: 75x25x10 |  |
| Question: Open excavation? Approximate size (Length x Width x Depth, ft) Response: Yes Notes: 75x25x10 |  |
| Question: Open excavation? Approximate size (Length x Width x Depth, ft) Response: Yes Notes: 75x25x10 |  |
| Question: Stockpiled waste and approximate volume (cubic yards) Response: No Notes: Stockpile has been hauled offsite | No Photo |
| Question: Groundwater present? (Depth, ft) Note: Free product/Sheen Response: Yes Notes: Depth – 10 ft |  |
| Question: Monitoring well(s) present? If so note number and approximate location Response: Yes Notes: Multiple | No Photo |
| Question: Soil impacts remain in situ? Response: Yes Notes: Soil impacts are visible | No Photo |

| Site Condition Checklist |  |
| --- | --- |
|  | Photo |
| Question: Waste signage present, legible is accurate and up to date (in accordance with rule 913.b.(5)B.iv)? Response: N/A Notes: | No Photo |
| Question: Emergency sign in compliance with 605.g? Response: Yes Notes: The emergency sign has faded. Recommend updating current signage |  |
| Question: Emergency sign in compliance with 605.g? Response: Yes Notes: |  |
| Question: Ground surface appears clean (no evidence of new equipment leaks, oil leaks, spills, or releases)? Response: No Notes: Ground surface within the excavation has visible impacts | No Photo |
| Question: Open excavation properly fenced/covered (in accordance with Rule 913.b.(5)B.i.)? Response: No Notes: Fencing around the perimeter of the site is not adequate. |  |
| Question: Open excavation properly fenced/covered (in accordance with Rule 913.b.(5)B.i.)? Response: No Notes: Fencing around the perimeter of the site is not adequate. |  |
| Question: Open excavation properly fenced/covered (in accordance with Rule 913.b.(5)B.i.)? Response: No Notes: Fencing around the perimeter of the site is not adequate. |  |
| Question: Open excavation properly fenced/covered (in accordance with Rule 913.b.(5)B.i.)? Response: No Notes: Fencing around the perimeter of the site is not adequate. The gaps in fencing do not provide an effective/adequate means of excluding entry of people. |  |
| Question: Is fencing adequate/appropriate for site and well maintained? Response: No Notes: Fencing around the perimeter of the site is not adequate. The gaps in fencing do not provide an effective/adequate means of excluding entry of people. |  |
| Question: Is fencing adequate/appropriate for site and well maintained? Response: No Notes: Fencing around the perimeter of the site is not adequate. The gaps in fencing do not provide an effective/adequate means of excluding entry of people. |  |
| Question: Is fencing adequate/appropriate for site and well maintained? Response: No Notes: Fencing around the perimeter of the site is not adequate. The gaps in fencing do not provide an effective/adequate means of excluding entry of people. |  |
| Question: Is fencing adequate/appropriate for site and well maintained? Response: No Notes: Fencing around the perimeter of the site is not adequate. The gaps in fencing do not provide an effective/adequate means of excluding entry of people. |  |
| Question: Is fencing adequate/appropriate for site and well maintained? Response: No Notes: Fencing around the perimeter of the site is not adequate. The gaps in fencing do not provide an effective/adequate means of excluding entry of people. |  |
| Question: Exposed buried/underground flowlines? Response: yes Notes: | No Photo |
| Question: If flowlines are exposed are they properly capped (bullnose plug, etc.)? Response: No Notes: Flowlines within the excavation are not properly capped |  |
| Question: Site is protected from vehicular traffic? Response: Yes Notes: | No Photo |
| Question: Is an earthen berm secondary containment present and in good condition (no evidence of erosion, animal burrowing, etc.)? Response: Yes Notes: |  |
| Question: Is work being conducted in a minimal footprint? (Note if any property/crop damage) Response: Yes Notes: | No Photo |

| Stormwater Checklist |  |
| --- | --- |
|  | Photo |
| Question: Evidence of pollutants being discharged off-site? Response: No Notes: | No Photo |
| Question: All stormwater erosion control measures and BMPs are present and in good/working condition? Response: Yes Notes: |  |
| Question: Site free of unused equipment, weeds, debris/trash? Response: No Notes: Unused equipment still onsite. Weeds growing all throughout the site |  |
| Question: Site free of unused equipment, weeds, debris/trash? Response: No Notes: Unused equipment still onsite. Weeds growing all throughout the site |  |
| Question: Site free of unused equipment, weeds, debris/trash? Response: No Notes: Unused equipment still onsite. Weeds growing all throughout the site |  |
| Question: Potential pollutants (trash, material stockpiles) are properly contained? Response: Yes Notes | No Photo |
| Question: Evidence of sediment/debris observed on adjacent roads? (If yes, is note tracking control BMP presence/conditions) Response: No Notes: Tracking control is adequate | No Photo |
| Question: Additional stormwater control measures/maintenance recommended? Response: No Notes: | No Photo |

GENERAl site Photos

| General Site - 1 |  |
| --- | --- |