## Sheet1
PROJECT NO. : | 202509081 |  | COMPANY NAME : | QB ENERGY OPERATING, LLC |  |  | OFFICE / BRANCH: |  |  | PARACHUTE, CO
PROJECT NO. : | ANALYSIS NO. : | CUSTOMER REF/ Account No.: | PRIMARY DB KEY: | NAME/DESCRIP : | SAMPLE POINT: | Additional Sample Info: | MCF | MMBTU | BTU/cf | SPECIFIC MATRIX (for ECMC?): | CONTAINER ID : | REPORTING ID/ Report Type: | SAMPLE START DATE TIME : | SAMPLE FINISH DATE TIME : | EFFECTIVE DATE TIME: | SAMPLE CYCLE: | PRODUCER : | LEASE NO./ CLIENT PROJECT NO.: | PRIMARY PRESSURE BASE: | SAMPLED BY : | SAMPLING COMPANY: | SAMPLE PRES. : | FLOW PRES: | SAMPLE TEMP. : | AMBIENT TEMP.: | SAMPLE TYPE: | Probe (Yes/No) | FIELD COMMENTS: | H2S by Length of Stain | H2O by Length of Stain | CO2 by Length of Stain | DHA-NG(L) File No. | DHA-NG(L) LAB COMMENTS: | DHA-NG(L) Analysis Date | DHA-NG(L) Lab Analyst | Helium | Hydrogen | Oxygen/Argon | Nitrogen | Carbon Dioxide | Hydrogen Sulfide (H2S) | Methane | Ethane | Propane | i-Butane | Methanol | n-Butane | 2,2-Dimethylpropane | i-Pentane | n-Pentane | Cyclopentane | C6 | C7 | C8 | C9 | C10+ | Total | Ethane GPM (c2_gpm) | Propane GPM (c3_gpm) | Iso Butane GPM (iso_c4_gpm) | N Butane GPM(n_c4_gpm) | Iso Pentane GPM (iso_c5_gpm) | N Pentane GPM(n_c5_gpm) | Hexane GPM (c6_gpm) | Heptane GPM (c7_gpm) | Octane GPM (c8_gpm) | Nonane GPM (c9_gpm) | Decane+ GPM (c10+_gpm) | Total GPM | 26 PSI Gasoline | NET DRY REAL : | NET WET REAL : | GROSS DRY REAL : | GROSS WET REAL : | NET DRY REAL : | GROSS DRY REAL : | RELATIVE DENSITY (AIR=1): | DENSITY | COMPRESSIBILITY FACTOR : | REGULAR WOBBE INDEX | Net Dry Ideal BTU - C6+ Factor (scf) | Gross Dry Ideal BTU - C6+ Factor (scf) | Net Dry Ideal BTU - C6+ Factor (lb) | Gross Dry Ideal BTU - C6+ Factor (lb) | Relative Density - SG (Air=1) - C6+ Factor | Z Compressiblity - C6+ Factor | Density - C6+ Factor | Molar Mass or MW - C6+ Factor | GPM scf/gal - C6+ Factor | Sample Container | Lab File Number | Analysis Date | Hydrogen Sulfide (H2S) ppm mole (ul/L) | Carbonyl Sulfide ppm mole (ul/L) | Methyl Mercaptan ppm mole (ul/L) | Ethyl Mercaptan ppm mole (ul/L) | Dimethyl Sulfide ppm mole (ul/L) | Methyl Ethyl Sulfide ppm mole (ul/L) | Total Sulfur ppm mole (ul/L) | Hydrogen Sulfide (H2S) (ug/g) | Total Sulfur ppm wt (ug/g) | GRAINS OF H2S | POUNDS OF H2S | WT% OF H2S | TOTAL GRAINS OF SULFUR | TOTAL POUNDS OF SULFUR | TOTAL WT% OF SULFUR
202509081 | 01 |  |  | PCU F27X-8G | PRODUCTION CASING |  |  |  |  | GAS | 0264 | DHA-NG, ISO NG II | SEPTEMBER 10, 2025 | [5 empty] | 14.65 | NICK CROY | QB ENERGY | 1971 | [9 empty] | 202509081-01-K-188 |  | SEPTEMBER 22, 2025 20:36 | EMPACT | 0 | 0.15 | 0 | 0.15 | 1.63 | 0 | 87.3507 | 7.2325 | 1.7886 | 0.3238 | 0.0053 | 0.399 | 0.004 | 0.1985 | 0.1163 | 0.0006 | 0.1869 | 0.1953 | 0.1045 | 0.0501 | 0.1139 | 100 | 1.928 | 0.4908 | 0.1059 | 0.1249 | 0.074 | 0.042 | 0.073 | 0.08 | 0.046 | 0.026 | 0.07 | 3.0606 |  | 1020.8 | 1003 | 1128.4 | 1108.7 | 1020.8 | 1128.4 | 0.6583 | 0.05034 | 0.99737 | 1391.5 | 5496.8 | 5907.2 | 19055 | 20481 | 3.7902 | 0.99437 | 289.2148 | 109.755 | 21.3 | 1369 | #N/A | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
202509081 | 02 |  |  | PCU F27X-8G | INTERMEDIATE CASING |  |  |  |  | GAS | 0450 | DHA-NG, ISO NG II | SEPTEMBER 10, 2025 | [5 empty] | 14.65 | NICK CROY | QB ENERGY | 1963 | [9 empty] | 202509081-02-K-188 |  | SEPTEMBER 22, 2025 22:16 | EMPACT | 0 | 0.2 | 0 | 0.16 | 1.84 | 0 | 83.3681 | 7.9799 | 2.7059 | 0.662 | 0.0001 | 0.6001 | 0.0073 | 0.3265 | 0.2177 | 0.0107 | 0.5378 | 0.6359 | 0.4021 | 0.1944 | 0.1515 | 100 | 2.1285 | 0.7438 | 0.216 | 0.189 | 0.125 | 0.079 | 0.204 | 0.264 | 0.186 | 0.103 | 0.089 | 4.3273 |  | 1107.3 | 1087.9 | 1220.5 | 1199.2 | 1107.3 | 1220.5 | 0.7222 | 0.05522 | 0.99709 | 1436.5 | 5170.7 | 5550 | 19120.9 | 20526.8 | 3.5815 | 0.99437 | 273.3007 | 103.713 | 22.4 | 0883 | #N/A | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0